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1. Report identity and inspection event
Report type: move in. Inspection: August 30, 2026, 9:30 AM to 11:10 AM, Asia/Manila (UTC+8). Report completed: August 30, 2026. Participation: joint.
Lessor: Maria L. Santos, 15 Sampaguita Street, Barangay Poblacion, Quezon City 1100, Philippines. Lessee: Juan D. Reyes, Unit 2B, 15 Sampaguita Street, Barangay Poblacion, Quezon City 1100, Philippines. Inspector: no separate independent inspector. Attendees: Maria L. Santos, lessor; Juan D. Reyes, lessee; and Ana M. Cruz, adult witness and photograph maker.
The parties report a joint inspection; signature and attendance still require actual completion below.
2. Premises, lease, and baseline
Premises: Unit 2B, 15 Sampaguita Street, Barangay Poblacion, Quezon City 1100, Philippines. Second-floor residential apartment Unit 2B, approximately 45 square meters, including one bedroom, living/dining area, kitchen, bathroom, balcony, storage cabinet, and the fixtures and access listed in this report. Use/type: residential; apartment or condo.
Lease: Residential Lease Agreement, dated August 25, 2026, reference RLA-2B-2026; term recorded from August 30, 2026 through August 29, 2027. Current monthly rent: ₱9,000.00.
Rent-control treatment selected: likely covered 2025 2026. The unit is a residential apartment rented at PHP 9,000 monthly, is not a hotel or motel, and no supported new-unit exclusion is claimed; the lease and unit records were checked against NHSB Resolution No. 2024-01.
Prior baseline: No prior condition report applies because this joint inspection creates the initial baseline immediately before possession and key delivery. Security deposit recorded: ₱18,000.00. PHP 18,000 is to be placed in the lessor's named bank deposit account ending 4821; opening receipt, monthly statements, credited interest, authorized withdrawals, and final balance will be retained and shared for accounting.
3. Method, evidence integrity, and privacy
Inspection method: Joint clockwise room-by-room visual inspection under daylight and installed lighting, with wide and close photographs, one-meter reference where useful, safe operation of accessible fixtures, and no destructive or concealed-system testing.
Access and limitations: The locked building electrical service room and concealed wall, ceiling, plumbing, and structural cavities were inaccessible; no omitted area is represented as inspected, and all not-applicable items are marked N/A. Visual, non-invasive observations only; concealed systems, structural capacity, code compliance, contamination, infestation, and specialist equipment were not certified.
Media package: 18 photograph(s) and 1 video(s). Maker/competent identifier: Ana M. Cruz made all 18 photographs and one continuous walk-through video on the identified device and can explain when, where, and how each file was produced. Index: PH-001 exterior/front door; PH-002 entry floor; PH-003-005 living walls/ceiling/floor; PH-006-009 kitchen; PH-010-012 bathroom; PH-013-014 bedroom; PH-015 electric meter; PH-016 water meter; PH-017 keys; PH-018 balcony; VID-001 clockwise walkthrough. Each index entry includes original filename, timestamp, issue ID, and description.
Preservation: Preserve camera originals and metadata in read-only folders, compute and record SHA-256 hashes for the signed export package, retain exact PDF/DOCX versions and delivery messages, back up to two controlled locations, and disclose any derivative crop or redaction. Privacy: Frame only the premises and relevant fixtures; exclude faces, the minor child, IDs, mail, screens, medicines, banking records, and unrelated belongings; use a narrowly cropped derivative only when necessary and keep originals access-restricted for lease, repair, or dispute purposes.
This is a non-invasive factual record, not an engineering, electrical, plumbing, fire, environmental, pest, mold, valuation, or code-compliance certificate. A photograph is evidence of what it accurately depicts, not proof of a concealed cause, cost, fault, or legal conclusion.
4. Overall condition and urgent issues
Overall observed grade: good. Scale used: Excellent means new-like with no material defect; good means fully usable with minor disclosed marks; fair means usable with specific wear/repair items; poor means material defects; unsafe/unassessed requires access restriction or specialist review.
The apartment was vacant, freshly swept, and usable at inspection. Minor disclosed paint scuffs and one loose kitchen cabinet hinge are recorded; no active leak or exposed wiring was observed during the limited visual and safe functional checks.
Cleanliness and odors: Floors and fixtures were visibly clean with no smoke, pet, chemical, sewer, or persistent damp odor observed during the inspection. Moisture/pest indicators: No active dripping, visible mold-like growth, droppings, rodents, or insects were observed; an old dry water stain above the bathroom door is indexed as Issue I-02 for monitoring.
Observed safety devices and test limits: One smoke alarm was observed at the hallway and its test button sounded; one tagged extinguisher was observed near the kitchen; exits were visually unobstructed. Battery life, internal condition, code compliance, and system integration were not certified.
No urgent hazard is affirmatively reported in this visual inspection; this is not a safety certification.
No separate specialist inspection is recorded as recommended by this report; later evidence may change that assessment.
5. Area-by-area condition schedule
Exterior and entry: Exterior corridor dry and unobstructed; front door and frame intact; peephole clear; door closer working; two small paint chips at lower frame recorded in PH-001 as pre-existing.
Walls, ceilings, floors, and finishes: Paint generally good; three small living-room scuffs at 0.8 meters recorded PH-003/I-01; tiles intact and level by visual observation; no loose floor tile observed; dry historic stain above bathroom door is I-02.
Doors, windows, locks, and access: Front deadbolt, knob lock, bedroom latch, bathroom privacy latch, two sliding windows, and screens operated during safe checks; no cracked glass; balcony-door lower seal shows disclosed wear in PH-018.
Kitchen: Counter and sink clean; tap and drain operated without observed active leak; two-burner range exterior clean but fuel connection not tested; lower cabinet hinge loose and indexed I-03; cabinet contents empty.
Bathroom: Toilet flushed once; basin and shower taps ran and drained; seals appeared intact; mirror has one 1-centimeter edge chip PH-011; exhaust fan sounded during switch test; concealed waterproofing was not assessed.
Living, dining, bedrooms, and work areas: Living/dining area empty and usable; bedroom closet clean with two shelves and hanging rod; installed curtain rods intact; no furniture is included except the inventory-listed dining table and two chairs.
Visible electrical: Visible panel cover intact and labeled; accessible switches, lights, and selected outlets were checked with a simple plug-in lamp where safe; no cover was removed and load, grounding, insulation, concealed wiring, and code compliance were not tested.
Visible plumbing: Visible taps, toilet, sink traps, and drains were observed during limited flow tests; no active leak was seen; concealed pipes, pressure under varying demand, sewer condition, and water quality were not assessed.
Ventilation and cooling: Two window fans operated at inspection; one split air-conditioning unit powered on and produced cool air for five minutes; filter needs routine cleaning; refrigerant, drainage under extended use, efficiency, and internal condition were not certified.
Appliances, furniture, and included fixtures: Refrigerator model RF100 serial SN-8821 powered and cooled during a brief check; dining table and two chairs show minor ordinary scratches; range connection not tested; all included items are separately listed and photographed.
Fire/life safety and accessibility: Hallway and front door were unobstructed; smoke alarm test button sounded; extinguisher visually present with tag; no fire-system, emergency-light, accessibility, structural, or legal compliance certification is made.
Parking, storage, and common areas: No parking slot is included. One hallway storage cabinet is included, empty, with working latch; lobby, stairs, and common corridor were visually passable but are not exclusively controlled by either party.
6. Inventory, meters, keys, and records
Inventory: INV-01 refrigerator RF100, quantity 1, good, serial SN-8821, trays 3, PH-006; INV-02 dining table, quantity 1, good with minor top scratches, PH-004; INV-03 dining chairs, quantity 2, good with minor wear, PH-004; INV-04 split AC with remote, quantity 1 each, working in brief check, PH-014; INV-05 extinguisher, quantity 1, observed/tagged, PH-009.
Unique identifiers: Refrigerator RF100 serial SN-8821; split AC indoor unit AC-IN-552 and outdoor unit AC-OUT-552; electric meter EM-22018; water submeter WM-2B-091; access card AC-2B-1.
Electric: Meter EM-22018, reading 12,445.6 kWh at 10:42 AM on 30 August 2026, photographed PH-015 with unit and display visible. Water: Submeter WM-2B-091, reading 338.2 cubic meters at 10:45 AM on 30 August 2026, photographed PH-016. Gas/other: N/A—no individual gas meter or other metered utility was represented as included in the premises.
Keys and access devices: Two front-door keys K-2B-1 and K-2B-2, one mailbox key MB-2B-1, and one access card AC-2B-1 were checked working, photographed PH-017, and delivered to Juan D. Reyes after signatures.
Manuals and records: Building house rules version 2026-02, refrigerator quick guide, AC remote guide, meter-reading sheet, emergency contact list, and one signed copy of this report and attachment index delivered to each party.
7. Issue, repair, and response schedule
Classifications used: pre-existing; lessor repair/maintenance; uncertain cause. Responsibility status: agreed.
I-01 living-room paint scuffs, pre-existing, PH-003, no immediate repair, reassess at return. I-02 old dry stain above bathroom door, uncertain historic cause, PH-012, lessor to inspect after first heavy rain by 15 September 2026. I-03 loose lower kitchen cabinet hinge, lessor repair, PH-008, tighten or replace by 7 September 2026 with completion photograph and tenant confirmation.
Access and target dates: The lessee will provide reasonable scheduled access after at least 24 hours' notice except a genuine emergency; I-03 target is 7 September and I-02 inspection target is 15 September, with dated completion photographs, invoice if any, and tenant acknowledgment.
Party comments or disputes: Both parties agree the listed observations create the initial visual baseline; neither party reports an additional disputed item at signing, and a dated supported correction may be delivered within three calendar days without overwriting the original.
A classification is an inspection record, not a final determination of causation, negligence, lease breach, cost, deposit entitlement, or waiver. Urgent risks require immediate protection and notice; disputed or technical causes require suitable evidence and specialist review.
8. Acknowledgment and complete record
Signatures acknowledge attendance, receipt, and the listed visual observations, inventory, readings, comments, and attachment index only; they do not waive hidden defects, lawful rights, ordinary wear, repair duties, proof requirements, or later good-faith correction supported by evidence.
Attachments forming this record: Signed report; media index PH-001 to PH-018 and VID-001 with hashes; inventory/serial schedule; meter sheet; key/access receipt; issue/repair schedule; house rules; and identical-copy delivery receipts.
Identical-copy delivery: Provide each party the signed paper report and a hash-matched PDF with indexed attachments by verified email on 30 August 2026, preserving sent-message metadata, acknowledgments, and the unaltered originals.
Use reliable electronic or wet-ink signatures linked to the exact final report and attachment package.
	LESSOR / AUTHORIZED REPRESENTATIVE
Maria L. Santos
Lessor
Date: ______________________________
	LESSEE
Juan D. Reyes
Lessee
Date: ______________________________

	WITNESS / MEDIA MAKER
Ana M. Cruz
Attended the inspection and made or witnessed the listed photographs and videos
Date: ______________________________
	





LATE COMMENTS / CORRECTION RECEIPT
Party: ____________________    Date/time received: ____________________
Item/issue/photo reference and requested correction: ____________________
Supporting evidence attached: ____________________
Other party's response and resulting agreed revision, if any: ____________________
Never overwrite the signed original. Add a dated, versioned correction signed or acknowledged by the affected parties.
LAW.PH PRE-SIGNING GUIDANCE — NOT PART OF THE EXECUTION INSTRUMENT
The draft instrument ends before this page. The checklist and legal-source record that follow are preparation guidance only: they are not promises, recitals, schedules, annexes, exhibits, attestations, acknowledgments, jurats, or other operative parts of the instrument, and they must not be included in its execution page count.
PRE-SIGNING CHECKLIST
1. Inspect in adequate light and safe conditions; record exact date/time, attendees, weather or occupancy limitations, inaccessible areas, and every N/A rather than leaving unexplained blanks.
1. Use one durable issue ID across narrative, photograph/video index, repair request, quote, invoice, follow-up, and deposit accounting.
1. Capture wide context and close detail with a scale where useful; identify who made each recording and preserve original files, metadata, exact export, hashes where used, and read-only backups.
1. Minimize personal data in media; avoid faces, minors, IDs, mail, screens, medicines, and unrelated belongings, and restrict sharing to the legitimate lease/repair/dispute purpose.
1. For urgent electrical, gas, fire, structural, active-water, sanitation, access, or habitability concerns, protect people and property, notify promptly, restrict unsafe use, and use the proper emergency or qualified-specialist route.
1. At move-out, compare each claimed change to the signed baseline and account for ordinary wear, lapse of time, inevitable cause, pre-existing condition, repairs, age/useful life, and uncertain causation.
1. For a currently covered residential unit, recheck the two-month deposit cap, bank placement, accrued interest, unpaid utilities/rent, and deductions commensurate with supported pecuniary damage under current law.
1. Label estimates as estimates and invoices as incurred costs; preserve quotes, invoices, receipts, payment proof, photographs, age/useful-life basis, and completion evidence for every proposed deduction.
1. Give both parties the same signed report and exact attachment set, a practical correction deadline, and a written route to dispute an observation or proposed accounting without altering the original.
1. A condition report supports evidence but does not itself establish code compliance, technical cause, legal fault, repair responsibility, eviction, deposit forfeiture, or the admissibility or weight of evidence.
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Template v0.2.0 | Republic of the Philippines | Effective 2026-08-30 through 2026-12-31 | Independent Philippine lawyer review pending | Last legal check 2026-10-01 | Next review due 2026-11-01
Republic Act No. 386 — Civil Code of the Philippines - Articles 1654, 1657, 1661–1668, and 1678 on delivery and repairs, prudent use, urgent repair notice, return condition, ordinary wear, baseline presumption, deterioration, household/guest damage, and improvements (checked 2026-08-30)
https://lawphil.net/statutes/repacts/ra1949/ra_386_1949.html
Republic Act No. 9653 — Rent Control Act of 2009 - Section 3 (covered residential units); Section 7 (deposit cap, bank placement, interest, and deductions commensurate with unpaid rent or utilities or damage to house components and accessories); Section 12 (Civil Code and Rules of Court apply) (checked 2026-10-01)
https://lawphil.net/statutes/repacts/ra2009/ra_9653_2009.html
National Human Settlements Board Resolution No. 2024-01 (certified copy filed with ONAR) - Current 2025–2026 coverage period, PHP 10,000 threshold, same-lessee increase limits, vacancy treatment, and new-unit exclusion (checked 2026-10-01)
https://naro.law.upd.edu.ph/issuances/4495
A.M. No. 01-7-01-SC — Rules on Electronic Evidence - Integrity and authentication of electronic documents and identification, explanation, or authentication of audio, photographic, and video evidence by a competent person (checked 2026-08-30)
https://lawphil.net/courts/supreme/am/am_01-7-01_sc_2001.html
A.M. No. 19-08-15-SC — 2019 Amendments to the Revised Rules on Evidence - Documentary evidence includes photographs and videos; original-document and duplicate treatment for stored images and electronic records (checked 2026-08-30)
https://lawphil.net/courts/rules/am_19-08-15-sc_2019.html
NPC Reminder on Sharing Photos and Videos Containing Personal Data - Lawful basis and transparency, legitimate-purpose, and proportionality principles for photos and videos containing personal information (checked 2026-08-30)
https://privacy.gov.ph/reminder-on-sharing-photos-and-videos-containing-personal-data/
Republic Act No. 8792 — Electronic Commerce Act - Sections 6–8 on legal recognition, integrity, reliability, authentication, and electronic signatures (checked 2026-08-30)
https://lawphil.net/statutes/repacts/ra2000/ra_8792_2000.html
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